## Slide 1
Better Energy Better World
Optional
IEC62109-1,LEC62109-2
20.8A | 25A | 31.7A/33A | 31.4A/35A
22.9A | 27.5A | 34.9A/36.3A | 36.7A/38.5A
35A | 40A | 50A | S0A
50 / 60Hz, 120/24Vac(split phase), 2O8Vac(2/3 phase). 230Vac (single phase) |  |  | 
Split phase:2/3phase;Single Phase |  |  | 
6600W
SUN-8K-SG01 LP1-US/EU Lead-acid or lithium-ion 40-60V 120 A 120 A Self-adaption to BMS 10400W 370V (100v-500V) 12SV-425V 150V 22A+11A 22A+22A 2 2+2 AC Output Data 2 times of rated power, 10 S THD<3% (Linear back ＜15%) Grid Regulation EN61000-6-1 EN610006-3,FCC15class B
Part Number Energy storage Capacity Nominal Voltage Maximum Charge Voltage Discharge Cut-off Voltage Internal Configuration ESR/AC @1KHz 50% SOC Max. Continuous Charge Current Max. Continuous Discharge Current Dimensions Weight Projected cycle life(25C) Round Trip Efficiency*1 Cells Self-discharge Rate Projected life(25C) Recommended Depth of Discharge Maximum Depth of Discharge Cooling Method Shell Material Parallel Connection Compatible Protocol Monitoring Data | GTEM-48V5.5K-W 5.44kWh 105Ah 51.8V/DC 58V/DC 42V/DC 14S5P/EM21 <8mΩ 100A 100A 470x510x175(mm) 45kg 20000 times 97.5% | GTEF-48V10K-W 10kWh 210Ah 51.2V/DC 57V/DC 44V/DC 16S7P/EF30 <9mΩ 100A 100A 730x750x138(mm) 117kg 10000 times 97.7% 2% per month 15 years ≤90% 100% Natural Metal & ABS plastic Up to 16 sets CAN,RS485 | GTEM-48V15K-W 15kWh 294Ah 51.8V/DC 58V/DC 42V/DC 14S14P/EM21 <15mΩ 200A 200A 700x765x175(mm) 132kg 20000 times 97.5%
 | System voltage,current,temperature,SOC,SOH,cycle,cell’s voltage |  | 
System -All-in-One
Solar Panel + Inverter + BESS
Model
Battery Type
Battery Voltage Range (V) Max.Charging Current (A) Max. Discharging Current (A) Charging Curve
Extemal Temperature Sensor Charging Strategy for Li-ion Battery
PV String Input Data
Max. DC Input Power (W)
PV Input Voltage (V)
MPPT Range (V)
Start-up Voltage (V)
PV Input Current (A)
No. of MPPT Trackers
No. of Strings Per MPPT Tracker
Clean Power Supply
Rated AC Output and UPS Power (W)
Max. AC Output Power
Peak Rower (off grid)
AC Output Rated Current (A) Max AC Current (A)
Max.Continuous AC Passthrough (A) Output Frequency and Voltage
Grid Type
Current Harmonic Distortion
Max. Efficiency
100% TESTING
97.60% ULI741, IEEE 1547, RULE21,VDE0126, AS4777, NRS2017, G98,G99, IEC61683, IEC62116, IEC61727
Mob/WhatsApp: +86 158 0076 5605 Tel: (021) 5031 0528
E-mail: info@enerbond.com
Battery energy storage system Capwall 5.5kWh/10kWh/15kWh
Hybrid Inverters 3.6kW-8kW
SUN-6K-SG01LP1-US | SUN-7.6K-SG01LP1-US/EU
Safety Regulation EMC
3 Stages / Equalization
WhatsApp
5000W 5S00W
7600W 8360W
8000W 8800W
SUN-5K-SG01LP1-US
13SA 13SA
190A 190A
190A 190A
22A+22A
11A+11A
7800W
9880W
6500W
6500W
2+1
2+2
1+1

## Slide 2
PV1 PV2 Battery | MPPT1 DC EMI AC Breaker L L N N Battery Load Breaker DC EMI Load
Module type Power output Power output tolerances Module efficiency Voltage at Pmax Current at Pmax Open-circuit voltage Short-circuit voltage | Pmax △Pmax ηm Vmpp Impp Vac Isc | W W % V A V A | 390 | YLxxxDF54e/2(xxx=Pmax) 395 400 405 |  |  |  | 410 | 415
 |  |  | 19.97 30.27 12.89 36.80 13.68 | 20.23 30.42 12.99 36.90 13.77 | 20.48 30.56 13.09 37.00 13.86 | 0/+5 20.74 30.71 13.19 37.10 13.95 | 21.00 30.86 13.29 37.20 14.04 |  | 21.25 31.00 13.39 37.30 14.13
Power output Voltage at Pmax Current at Pmax Open-circuit voltage Short-circuit voltage | Pmax Vmpp Impp Voc Isc | % V A V A | 426.86 30.27 14.10 36.80 14.97 | 432.33 30.42 14.21 36.90 15.07 | 437.80 30.56 14.33 37.00 15.17 | 443.27 30.71 14.43 37.10 15.27 | 448.75 30.86 14.54 37.20 15.37 | 454.22 31.00 14.65 37.30 15.47
Power output Voltage at Pmax Current at Pmax Open-circuit voltage Short-circuit voltage | ηm Vmpp Impp Voc Isc | % V A V A | 296.85 28.87 10.28 34.98 11.02 | 300.63 29.01 10.36 35.08 11.09 | 304.34 29.01 10.44 35.17 11.17 | 308.17 29.14 10.52 35.27 11.24 | 312.03 29.43 10.60 35.36 11.31 | 315.80 29.56 10.68 35.46 11.38
Stable and safe,Supercapacity battery Module, pack, system,triple protection IP65,outdoor installation,away from living room
Nominal operating cell temperature Temperature coefficient of Pmax Temperature coefficient of Voc Temperature coefficient of Isc | NOCT γ β α | C %/C %/C %/C | 39±2 -0.35 -0.28 0.05
DC
BUS
Modular design,single person can carry and install it. Plug and play,30 mins quick installation
Model: AEN-01( low voltage)
*NOCT:open-circuit module operation temperature at 800W.m-2 irradiance,20C ambient temperature,1m*s- 1 wind speed.
AEN-01 Speciﬁcations
*STC:1000W.m-2 irradiance,25C cell temperature,AM 1.5 spectrum according to EN 608904-3
Electrical parameters at Nominal Operating Cell Temperature(NOCT*)
Bifacial electrical parameters at Standard Test Conditions(STC*)
Support power internet applications
Routes Diagram
Electrical parameters at Standard Test Conditions(STC*)
*Bifaciality coefficient is 70% ±5% ，rear irradiance is 135W.m-2
*Bifaciality coefficient is 70% ±5% ，rear irradiance is 135W.m-2
Solar Panel 390-415W
Intercon
-nection
Simple
Safety
Inverter
Circuit
THERMAL CHARACTERISTICS
Capwall
DC
Switch
AC
Relay
Inverter
AC
Filter
AC Input
AC SPD
DC SPD
Breaker
MPPT2
DC/DC
N
L